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COÄNG HOØA XAÕ HOÄI CHUÛ NGHÓA VIEÄT NAM

Ñoäc laäp  - Töï do - Haïnh phuùc

---------------oOo-----------------

SOCIALIST REPUBLIC OF VIETNAM

Independence-Freedom-Happiness

ángaøy 23  thaùng 08  naêm 2002.
  , 23 August  2002.
BIEÂN BAÛN KIEÅM TRA HOÀ SÔ  NGHIEÄM THU

Giai ñoaïn thi coâng ñaøi coïc, daàm giaèng moùng, keát caáu ngaàm vaø keát caáu thaân 

MINUTE OF CHECKING THE ACCEPTANCE DOCUMENT
For pile caps, footing tie beams, sub-structure, super-structure stage.

Coâng trình  
     
 Thuoäc döï aùn ñaàu tö nhoùm    A 

Project                 category         A

Haïng muïc coâng trình / Items:

	1.
	Nhaø ñieàu haønh

Adminstration building
	31.
	Hoá laéng 

Retention basin

	2.
	Nhaø ñieàu khieån / Control building
	32.
	Giaù phuï 1-3 / Subrack 1 to 3

	3.
	Bôm ngoaøi boä ngöng tuï 
Condensation export pump
	33.
	Beå thu buøn 

Slugcatcher

	4.
	Boä loïc ngöng tuï/Condensation filter
	34.
	Boä cung caáp oån ñònh/Stabiliser feed

	5.
	Maùy ñieàu hoøa khoâng khí trung taâm

Chiller
	35.
	Giaøn oån ñònh
Stabiliser interstage

	6.
	Caêng tin

Canteen
	36.
	Boä phaän tieáp nhaän hình caàu 

Sphere receiver

	7.
	Boä ngöng tuï oån ñònh

Condensation stabilizer
	37.
	Loø taùi chöng caát oån ñònh

Stabilier reboiler

	8.
	Boä loïc ñoâi - Duplex strainer
	38.
	Troáng huùt oån ñònh/Stabiliser suction drum

	9.
	Boä ngöng tuï khaån caáp.

Emergency condensate
	39.
	Beä ñôõ boä phaän thu buøn

Slugcatcher service platform

	10.
	Loái qua ñöøông-Easement crossings
	40.
	Phoøng ñieàu khieån - Switch room

	11.
	Gas nhieân lieäu - Fuel gas
	41.
	Thaùp thoâng tin-Telecommunication tower

	12.
	Bôm nöôùc chöõa chaùy

Firewater pump
	42.
	Van khoáng cheá 

Valve  restraints

	13.
	Loïc löûa 

Flare scruber
	43.
	Boä khoâi phuïc chaát thaûi noùng

Waste heat recovery unit

	14.
	Bôm loïc löûa-Flare scruber pump
	44.
	Nhaø xöôûng/ Workshop/ware house

	15.
	Daây xích coät ngoïn löûa

Flare stack guys wire
	45.
	Nhaø baûo veä 

Plant Gate House

	16.
	Coät ngoïn löûa vaø choùp

Flare stack & tip
	46.
	Phoøng maùy phaùt ñieän döï phoøng

Emergency Gennerator Room

	17.
	Boä chuyeån ñoåi khí- Gas exchange
	47.
	Phoøng laùi xe / Driver Room

	18.
	Boä loïc khí-Gas filter
	48.
	Troáng huùt oån ñònh /Stabiliser suction drum

	19.
	Daàu noùng- Hot oil
	49.
	Nhaø xöôûng/Workshop/ware house

	20.
	Xaû traøn chaát loûng/ Liquid flash
	50.
	Boàn nöôùc chöõa chaùy/Fire Water Tank 

	21.
	Boä taùch nhieät ñoä thaáp

Low temperature seperator
	51.
	Boàn nöôùc sinh hoïat 

Service Water Tank 

	22.
	Thaùp choáng seùt/ Lightning tower
	52.
	Beå chöùa daàu / Slope Oil Tank

	23.
	Maùy phaùt ñieän chính

Main generator
	53.
	Beå ngöng tuï  

Condensate Tank T3005, T3006

	24.
	Giaù ñôõ ñöôøng oáng -

Pipe rack
	54.
	Heä thoáng nöôùc daàu vaø nöôùc baån

Oily Water &Contaminated Water systems

	25.
	Caàu thang vaøo giaù ñôõ ñöôøng oáng 

Pipe rack access stair
	55.
	Heä thoáng nöôùc thaûi

Sewerage Systems

	26.
	Ñ.oáng khoáng cheá boä phaän thu buøn 

Pipe restraints slugcatcher
	56.
	Thoaùt nöôùc caùc khoái nhaø

Building Drainages

	27.
	Ñ.oáng khoáng cheá khu vöïc tieáp nhaän

Pipe restraints sphere receiver
	57.
	Möông thoaùt nöôùc

Effluent Discharge channels

	28.
	Truï ñôõ oáng khu loïc ga 

Pipe supports-gas filter process area
	58.
	Xöû lyù nöôùc thaûi

Effluent treatment Fcilities

	29.
	Truï ñôõ oáng khu daàu noùng 

Pipe supports-hot oil process area 
	59.
	Heä thoáng thoaùt nöôùc veäsinh

Sanitary Drainage system

	30.
	Truï ñôõ oáng khu chöùc naêng 

Pipe supports-utility area
	60.
	Traïm cöùu hoûa.

Fire Station

	
	
	61.
	Nhaø baûng ñieàu khieån/Control Panel House


Ñòa ñieåm: 


Location:


Giai ñoaïn xaây laép ñöôïc nghieäm thu:  
 ÑAØI COÏC - DAÀM GIAÈNG MOÙNG –

 KEÁT CAÁU NGAÀM VAØ KEÁT CAÁU THAÂN.

Construction stage being accepted:

Pile caps, footing tie beams, sub-structure and 





super-structure.
Thôøi gian nghieäm thu 

Date of Acceptance:
- Baét ñaàu/Commencement:        
     9h 00    ngaøy   23   thaùng   08   naêm 2002.

  
- Keát thuùc/Finish              
    
     11h30   ngaøy    23  thaùng  08    naêm 2002 

Taïi coâng trình 

At Site.

Caùc beân tham gia kieåm tra:

Parties involved in the checking process:

- Ñaïi dieän Chuû ñaàu tö coâng trình :             


  Representatives  of the Project Owner (the Client):    
     OÂng/Mr  

    OÂng/Mr 
    OÂng/Mr John Mackenzie 

- Ñaïi dieän toå chöùc tö vaán xaây döïng giuùp Chuû ñaàu tö taäp hôïp hoà sô trình ñeå nghieäm thu: 

Coâng ty Kieåm ñònh Xaây döïng Saøi Goøn (SCQC) 

Representative(s) of the local consultant assigned by the Project Owner to collect and arrange the document for the acceptance: 

Saigon Construction Quality Control Company (SCQC).

     Baø/Mrs
     Ñinh Thò Xuaân Yeán 
Giaùm ñoác -Director    

     OÂng/Mr
      Phaïm Anh Tuaán 

Trôï lyù giaùm ñoác - Asst Director

     OÂng/Mr
Phan Kyø Nam
            Phoù phoøng giaùm saùt -







Deputy Manager of Supervisory Division 

- Ñaïi dieän cô quan coù chöùc naêng quaûn lyù Nhaø nöôùc veà chaát löôïng coâng trình xaây döïng: Cuïc giaùm ñònh Nhaø nöôùc veà chaát löôïng coâng trình xaây döïng- Boä Xaây Döïng

Representatives  of the Local Authorities in charge of construction quality management: 

State Department for Construction Quality Inspection – MOC.

OÂng/Mr


Chuyeân vieân chính. 






Senior Expert

Ñaõ tieán haønh nhöõng vieäc sau:  
Following tasks have been completed as:
- Kieåm tra danh muïc hoà sô trình ñeå nghieäm thu giai ñoaïn thi coâng ñaøi coïc, daàm giaèng moùng, keát caáu ngaàm vaø keát caáu thaân cuûa coâng trình                           ñaõ laäp giöõa Chuû ñaàu tö vaø Nhaø thaàu chính xaây döïng

Checking of the list of document for the acceptance of pile caps, footing tie beams, sub-structure and super-structure work acceptance of the                        which was prepared by the Project Owner and the EPC Contractor. 

- Kieåm tra tính phaùp lyù vaø chaát löôïng cuûa hoà sô trình ñeå nghieäm thu giai ñoaïn thi coâng  ñaøi coïc, daàm giaèng moùng, keát caáu ngaàm vaø keát caáu thaân cuûa coâng trình 
Checking of the legality and quality of the acceptance document for the pile caps, footing tie beams, sub-structure and super-structure work of the.

Sau khi kieåm tra, xem xeùt vaø trao ñoåi, caùc beân tham gia ñaõ coù keát luaän:

After checking, reviewing and discussing, the parties concluded that:

1. Danh muïc hoà sô trình ñeå nghieäm thu ñaõ laäp ñuû theo caùc quy ñònh neâu taïi thoâng tö soá 16/2000/TT-BXD ngaøy 11/12/2000 cuûa Boä Xaây döïng “Höôùng daãn vieäc quaûn lyù xaây döïng ñoái vôùi hoaït ñoäng ñaàu tö nöôùc ngoaøi vaø quaûn lyù caùc nhaø thaàu nöôùc ngoaøi vaøo nhaän thaàu xaây döïng vaø tö vaán xaây döïng coâng trình  taïi Vieät nam “.

The list of documents for acceptance was fully complete as guided by The Circular No 16/2000/TT-BXD dated on 11/12/2000 by the MOC “Guidelines on construction management towards foreign investment operation and management of theforeign Contractors who enter Vietnam for delivering construction and contstruction consultancy services.

2. Danh muïc hoà sô ñeå nghieäm thu giai ñoaïn thi coâng ñaøi coïc, daàm giaèng moùng, keát caáu ngaàm vaø keát caáu thaân cuûa coâng trình ñöôïc ghi trong Phuï luïc keøm theo cuûa bieân baûn naøy.  

The list of document for acceptance of the pile caps, footing tie beams, sub-structure and super-structure work of Project is attached with the appendix of this minute

3. Hoà sô trình ñeå nghieäm thu giai ñoaïn thi coâng ñaøi coïc, daàm giaèng moùng, keát caáu ngaàm vaø keát caáu thaân cuûa coâng trình coù ñaày ñuû tính phaùp lyù theo qui ñònh.

The document for acceptance of the pile caps, footing tie beams, sub-structure and super-structure work of Project complied with the relevant regulations.

4. Caùc yù kieán nhaän xeùt khaùc: 

Others comments: 

Chuû ñaàu tö caàn boå xung ñaày ñuû caùc hoà sô sau ñeå laøm caên cöù nghieäm thu coâng trình hoaøn thaønh ñöa vaøo söû duïng (theo Phuï luïc 1 ñính keøm): 

The Project Owner is to add following documentation for the final acceptance of the whole project to put into use purpose (as per Appendix No1 attached):

4.1 Giaáy chöùng nhaän quyeàn söû duïng ñaát do cô quan Nhaø nöôùc coù thaåm quyeàn ñöôïc quy ñònh taïi ñieàu 36 – Luaät Ñaát ñai vaø muïc IV Thoâng tö soá 346/1998/TT-TCÑC ngaøy 16/3/1998 cuûa Toång Cuïc Ñòa chính höôùng daãn thuû tuïc ñaêng kyù ñaát ñai, laäp hoà sô ñòa chính vaø caáp giaáy chöùng nhaän quyeàn söû duïng ñaát

Land use right certificate issued by the State Authority(ies) regulated by at the Clause 36-Law of land and the article IV of the Circular No 346/1998/TT-TCÑC dated 16/3/1998 by the General Department of Cadastral guiding procedures of land registration for the cadastral document and issuing certificate of land use right.

4.2 Hôïp ñoàng thueâ ñaát kyù giöõa Së §Þa chÝnh tØnh Bµ RÞa - Vòng Tµu vµ Chuû ñaàu tö ( Thoâng tö soá 293/TT/ÑC ngaøy 14 - 3 -1997 cuûa Toång cuïc ñòa chính höôùng daãn veà vieäc laäp hoà sô xin giao ñaát, thueâ ñaát ñoái vôùi caùc toå chöùc trong nöôùc cho thueâ laïi ñaát trong khu coâng nghieäp, khu cheá xuaát).

Land lease contract between the land management Authority (or the Management Board of the IP, IPZ) and the Project Owner (as per the Circular No 293/TT-ÑC Dated 14/3/1997 by the General Department of Cadastral guiding the application procedure for for using and/or leasing land owned by the local land management Authority(ies) which has (have) right to lease land in IP, EPZ)

4.3 Baûn thoaû thuaän veà thieát keá vaø thieát bò phoøng chaùy, chöõa chaùy cña Côc C¶nh s¸t Phßng ch¸y ch÷a ch¸y – Bé C«ng An: 

Agreements on the design and equipment for fire fighting purposes

4.4 V¨n b¶n  chÊp thuËn  cña c¸c c¬ quan qu¶n lý chuyªn ngµnh cã thÈm quyÒn vÒ viÖc cho phÐp sö dông c«ng tr×nh kü thuËt bªn ngoµi hµng rµo :

Official letters/approvals by the local authorized bodies to allow the Project Owner to use facilities outside the Project Site.

- CÊp n­íc : Së X©y dùng tØnh Bµ RÞa – Vòng Tµu

Water supply permit: By the Construction Department of Ba Ria Vung Tau province

- Tho¸t n­íc ( ®Êu nèi vµo hÖ thèng n­íc th¶i chung) : Së X©y dùng , Së Khoa häc C«ng nghÖ vµ M«i tr­êng, Së thñy lîi tØnh Bµ RÞa - Vòng Tµu.

Water drainage (connecting to the local drainage system) permit by the Construction Department, Department for Science, Technology and Environment, Department for Marine Transport of Ba Ria Vung Tau province.

- §­êng giao th«ng bé , thuû :

Roads and marine transport:

+ §­êng bé : Së Giao th«ng tØnh Bµ RÞa - Vòng Tµu ( vÒ viÖc sö dông ®­êng cña ®Þa ph­¬ng ) 

Roads: Transport Department of Ba Ria Vung Tau province (to allow to use local roads)

+ §­êng thñy: Côc Hµng h¶i - Bé Giao th«ng VËn t¶i ( vÒ täa ®é , luång l¹ch do ¶nh h­ëng cña dµn khoan , ®­êng èng , c¸c h¹ng môc c«ng tr×nh )  


Marine transport: Marine Department - Ministry of Transport (to define coordinates, marine ways for platforms, pipelines and other project items) 


+ ViÖc më c¶ng, tho¶ thuËn x©y dùng c¶ng vµ c«ng bè c¶ng biÓn ph¶i thùc hiÖn theo V¨n b¶n sè 542/1999-CHHVN-BCB ngµy 08/4/1999 cña Côc Hµng h¶i ViÖt Nam - H­íng dÉn lËp hå s¬ xin : më c¶ng, tho¶ thuËn x©y dùng c¶ng vµ c«ng bè c¶ng biÓn- QuyÕt ®Þnh c«ng bè c¶ng cña Côc Hµng h¶i ViÖt Nam.


Port operation, agreement on port building and port registration is to follow the letter No 542/1999-CHHVN-BCB by Vietnam Marine Department- Ministry of Transport dated 08/04/1999 guiding application procedure for Port operation, agreement on port building and port registration - Decision for port registration by Vietnam Marine Department.

-  V¨n b¶n cña c¬ quan qu¶n lý giao th«ng kh¼ng ®Þnh viÖc x©y dùng , sö dông c«ng tr×nh kh«ng lµm mÊt an toµn  vÒ giao th«ng , giÊy phÐp ®µo ®­êng, cho phÐp ®i qua ®­êng s¾t , sö dông cÇu ®Ó dÉn èng cÊp n­íc  ( Bé Giao th«ng vËn t¶i vµ Së Giao th«ng vËn t¶i ).

Letter/approvals by the transport management agency to ensure project construction and commisioning is safe for transportation, license for digging roads, passing railways, use of bridges as pipeline carrier (Ministry of Transport and Local Department of Transport).

4.5. V¨n b¶n nghiÖm thu , chÊp thuËn hÖ thèng kü thuËt , c«ng nghÖ ®ñ ®iÒu kiÖn sö dông cña c¸c c¬ quan Nhµ n­íc cã thÈm quyÒn vÒ :


Letter/approvals of the engineering facilities by the State authorized bodies on: 

- GiÊy chøng nhËn nghiÖm thu hÖ thèng phßng ch¸y , ch÷a ch¸y :  Côc c¶nh s¸t PCCC -Bé C«ng an hoÆc Phßng c¶nh s¸t PCCC -Së C«ng an c¸c tØnh , thµnh phè ( Theo quy ®Þnh t¹i th«ng t­ liªn Bé Néi vô - X©y dùng sè 03/TT - LB ngµy 03/11/1989 - Quy ®Þnh chÕ ®é an toµn phßng ch¸y,phßng næ trong x©y dùng c«ng tr×nh vµ v¨n b¶n sè 763/C23 ngµy 25/12/1997 cña Tæng Côc C¶nh s¸t Nh©n d©n )

Acceptance minutes certifying the fire fighting systems: Fire Fighting Police Department  -Ministry of Police or Fire Fighting Department - Local Police Department ( as guided by inter-ministrial (Police and Construction) Circular No 03/TT - LB dated 03/11/1989 - making decision on construction fire safety policy and letter No 763/C23 dated 25/12/1997 of the General People Police Department) 
- PhiÕu x¸c nhËn B¶n ®¨ng ký ®¹t tiªu chuÈn m«i tr­êng & b¶o vÖ m«i tr­êng :  Bé hoÆc Së Khoa häc , C«ng nghÖ vµ M«i tr­êng ( theo quy ®Þnh t¹i Th«ng t­ sè 490./1998/TT-BKHCNMT ngµy 29/4/1998 cña Bé Khoa häc C«ng nghÖ vµ M«i tr­êng - H­íng dÉn lËp vµ thÈm ®Þnh B¸o c¸o ®¸nh gi¸ t¸c ®éng m«i tr­êng ®èi víi c¸c dù ¸n ®Çu t­ )

Certificate of registration of satisfaction of environmental standards and environmental protection: Ministry or Department of  Science, Technology and Environment ( as required by the Circular No 490/1998/TT-BKHCNMT dated 29/4/1998 of the Ministry of  Science, Technology and Environment - guiding the preparation and audition of the EIA)

- GiÊy phÐp sö dông c¸c lo¹i m¸y , thiÕt bÞ, vËt t­ vµ c¸c chÊt cã yªu cÇu nghiªm ngÆt vÒ an toµn lao ®éng  ( Theo quy ®Þnh t¹i Th«ng t­ sè 22/TT-L§TBXH ngµy 08/11/1996 cña Bé Lao ®éng Th­¬ng binh X· héi vÒ H­íng dÉn viÖc khai b¸o, ®¨ng ký vµ xin cÊp GiÊy phÐp sö dông c¸c lo¹i m¸y , thiÕt bÞ, vËt t­ vµ ¸c chÊt cã yªu cÇu nghiªm ngÆt vÒ an toµn lao ®éng vµ QuyÕt ®Þnh 58/2000/Q§/BTC ngµy 21/4/2000 cña Bé tr­ëng Bé Tµi chÝnh vÒ viÖc ban hµnh biÓu møc thu lÖ phÝ kiÓm ®Þnh kü thuËt vµ lÖ phÝ cÊp giÊy phÐp sö dông c¸c m¸y mãc, thiÕt bÞ, vËt t­ vµ c¸c chÊt cã yªu cÇu nghiªm ngÆt vÒ an toµn )

Using license of equipment, machines, materials and compounds requiring strict labor safety (as per the Circular No 22/TT-L§TBXH dated 08/11/1996 of the Ministry of Labor, Invalids and Society guiding the registration, application for using of equipment, machines, materials and compounds requiring strict labor safety and Decision No58/2000/Q§/BTC dated 21/4/2000 of the Ministryf of Finance issuing fees for technical inspection and fees for granting using license of equipment, machines, materials and compounds requiring strict labor safety )

- An toµn c«ng nghiÖp (dÇu má, khÝ ®èt) : Côc kiÓm tra , gi¸m s¸t kü thuËt an toµn c«ng nghiÖp - Bé C«ng nghiÖp ( Theo QuyÕt ®Þnh sè 378/TTg ngµy 04/6/1997 cña Thñ t­íng ChÝnh phñ vÒ chøc n¨ng, nhiÖm vô, quyÒn h¹n vµ tæ chøc bé m¸y Côc kiÓm tra , gi¸m s¸t kü thuËt an toµn c«ng nghiÖp )

Industrial safety (oil and gas): Inspection Department and technical supervision of industrual safety - Ministry of Industry (as per the Prime Minister Decision No 378/TTg dated 04/6/1997 defining the scopes, tasks, authorities and organization of Inspection Department and technical supervision of industrual safety

- GiÊy phÐp thu ch­¬ng tr×nh truyÒn h×nh n­íc ngoµi tõ vÖ tinh ( TVRO ): Bé V¨n ho¸ - Th«ng tin ( Theo Quy chÕ cÊp giÊy phÐp;kiÓm tra xö lý vi ph¹m viÖc thu ch­¬ng tr×nh truyÒn h×nh n­íc ngoµi tõ vÖ tinh ®­îc ban hµnh kÌm theo QuyÕt ®Þnh sè 46/Q§-BC ngµy 10/01/1887 cña Bé tr­ëng Bé V¨n ho¸ Th«ng tin )

Permit for using foreign satellite television channels ( TVRO ): Ministry of Culture and Information ( as per Regulation for granting permits; inspection for using foreign satellite television channels issued with Decision No 46/Q§-BC dated 10/01/1887 of the Ministry of Culture and Information )

- Biªn b¶n nghiÖm thu chØ giíi ®Êt x©y dùng cña c¬ quan cho thuª ®Êt ( Së §Þa chÝnh ) hoÆc cña c¬ quan cÊp giÊy chøng nhËn quyÒn sö dông ®Êt ( UBND TØnh, T.phè )

Acceptance minute for Project land borders by the authority leasing land (Cadastrial Department) or by local authorised bodies granting land use right certificate ( People Committee of the city or province)

5. Bieân baûn kieåm tra hoà sô naøy ñaûm baûo ñuû caên cöù ñeå Chuû ñaàu tö tieán haønh vieäc nghieäm thu giai ñoaïn thi coâng phaàn ñaøi, ñaø giaèng, coâng trình ngaàm vaø keát caáu thaân cuûa coâng trình.

This minute is a legal basis for the Project Owner to carry out the stage acceptance for the pile caps, footing beams, sub-structure and super-structure part of the Project.

	ÑAÏI DIEÄN CHUÛ ÑAÀU TÖ COÂNG TRÌNH

Representatives  of the Project Owner 


	ÑAÏI DIEÄN TOÅ CHÖÙC TÖ VAÁN XAÂY DÖÏNG GIUÙP CHUÛ ÑAÀU TÖ TAÄP HÔÏP HOÀ SÔ NGHIEÄM THU

Representatives w of local consultant assigned by the Project Owner to collect and arrange the document for the acceptance

SCQC

Deputy Manager of Supervisory Division


ÑAÏI DIEÄN CUÏC GIAÙM ÑÒNH NHAØ NÖÔÙC

VEÀ CHAÁT LÖÔÏNG COÂNG TRÌNH XAÂY DÖÏNG

Representative of the State Department for Construction Quality Inspection (MOC)

OÂng/Mr 

Chuyeân vieân chính / Senior Expert

  CAÙC PHUÏ LUÏC

APPENDIXES

Phuï luïc 1:

Appendix 1:

+ Xaùc nhaän hoà sô nghieäm thu giai ñoaïn thi coâng ñaøi coïc, daàm giaèng moùng, keát caáu ngaàm vaø keát caáu thaân cuûa coâng trình Traïm xöû lyù khí Dinh coá.

Certification of the acceptance document of the pile caps, footing tie beams, sub-structure and super-structure work  of Dinh Co Terminal Project.

Phuï luïc 2:

Appendix 2:

+ Danh muïc baûn veõ thieát keá kyõ thuaät toång theå cuûa döï aùn ñöôøng oáng daãn khí Nam Coân Sôn ñaõ ñöôïc Boä xaây döïng duyeät goàm 325 baûn veõ (soá thöù töï, teân baûn veõ, soá hieäu baûn veõ)

List of the Front End Engineering Design of Nam Con Son Gas Pipelines Project approved by MoC include 325 drawings. 

+ Danh muïc baûn veõ thieát keá chi tieát veà phaàn ñaøi coïc, daàm giaèng moùng, keát caáu ngaàm vaø keát caáu thaân  cuûa coâng trình Traïm xöû lyù khí Dinh coá ñaõ ñöôïc Chuû ñaàu tö vaø cô quan ñaêng kieåm Quoác teá (DNV cuûa NaUy) goàm …….. baûn veõ (soá thöù töï , teân baûn veõ , soá hieäu baûn veõ )

List of the detail design drawings of the pile caps, footing tie beams, sub-structure and super- structure work of Terminal Dinh Co Project approved by the Investor and DNV – Na Uy include …….. drawings (issue numbers, names and drawing numbers).

Phuï luïc 3:

Appendix 3:

+ Danh muïc baûn veõ hoaøn coâng cuûa ñaøi coïc, daàm giaèng moùng, keát caáu ngaàm vaø keát caáu thaân  cuûa coâng trình Traïm xöû lyù khí Dinh coá do Nhaø thaàu xaây laép laäp ñaõ ñöôïc Chuû ñaàu tö kyù, ñoùng daáu xaùc nhaän (soá thöù töï , teân baûn veõ , soá hieäu baûn veõ )

List of as-built drawings of the pile caps, footing tie beams, sub-structure and super- structure work of Terminal Dinh Co Project prepared by the Contractor, signed and sealed by the Projecr Owner (List of shop-drawings – Lastest revision, as-built survey ‘s Code No.)

Phuï luïc 4:

Appendix 4

+ Danh muïc caùc bieân baûn nghieäm thu coâng taùc xaây laép cuûa ñaøi coïc, daàm giaèng moùng, keát caáu ngaàm vaø keát caáu thaân  cuûa coâng trình Traïm xöû lyù khí Dinh coá (theo höôùng daãn cuûa Phuï luïc soá 5 cuûa Qui ñònh 17/2000/BXD ban haønh bôûi Boä Xaây Döïng ngaøy 02/08/2000)

List of Acceptance Minutes for the civil works for the pile caps, footing tie beams, sub-structure and super-structure of Terminal Dinh Co Project (as guided by the appendix No 5 of the Decision 17/2000/BXD by the Ministry of Construction dated 02/08/2000)

Phuï luïc 1 : 
     XAÙC NHAÄN HOÀ SÔ NGHIEÄM THU GIAI ÑOAÏN THI COÂNG

      ÑAØI COÏC, DAÀM GIAÈNG MOÙNG, KEÁT CAÁU NGAÀM VAØ KEÁT 

      CAÁU THAÂN COÂNG TRÌNH 

Appendix 1 :  Certification of the acceptance document  of pile caps, footing tie beams, 

sub-structure, super-structure stage work of                  Project.

                
   (Keøm theo Bieân baûn kieåm tra hoà sô nghieäm thu ngaøy  20 / 08 / 2002 )

               (The document checking minute enclosed with this minute dated  20 August 2002)

	STT

No
	Taøi lieäu/ Document
(Keå teân cuï theå, soá, ngaøy thaùng naêm vaø cô quan ban haønh vaên baûn, chöùng töø ) / Name, Ref.,date and Authority having issued the document and dossier
	Ghi chuù

Remark

	                               A.    HOÀ SÔ PHAÙP LYÙù/ Legal document

	1.1
	Giaáy pheùp ñaàu tö soá 2181/GP ngaøy 15 thaùng 12 naêm 2000 do Boä tröôûng Boä keá hoaïch vaø ñaàu tö caáp.

 Investment license No 2181/GP on 15 December 2000 by the Minister of
Planning and Investment


	

	   1.2


	Hôïp ñoàng hôïp taùc kinh doanh kyù giöõa 3 beân (BCC) vaø uûy quyeàn cuûa 3 beân cho BP thöïc hieän quaûn lyù döï aùn, coù chöùc naêng laø Chuû ñaàu tö .

The Business Co-operation Contract (BCC) signed by three (3) parties authorising the BP as the Project Manager and the Project Owner.

PetroVietnam coù traùch nhieäm cung caáp cho Boä Xaây döïng.

Petro Vietnam is responsible to supply this BCC contract to the MOC.


	

	2

2.1

2.2

2.3

2.4

2.5.
	Giaáy chöùng nhaän quyeàn söû duïng ñaát do cô quan Nhaø nöôùc coù thaåm quyeàn caáp :

Land use right certificate granted by the local authority(ies)

- Vaên baûn thoûa thuaän cuûa UBND tænh, thaønh phoá veà vieäc cho thueâ ñaát.

Agreement for land lease by the People’s Committee province, City.

+ Vaên baûn soá 3954/UB-VP ngaøy 15 thaùng 11 naêm 2000 cuûa Uûy ban nhaân daân tænh Baø Ròa Vuõng Taøu veà vieäc cho thueâ ñaát. 

The letter No 3954 UB- VP on 15 November 2000 by the People’s Committee of Ba Ria Vung Tau Province for laesing land.
+ Vaên baûn veà vieäc söû duïng ñaát coâng trình daàu khí soá 1228/TCÑC-PC ngaøy 16 thaùng 8 naêm 2000 cuûa Toång cuïc ñòa chính.
Agreement of the land-use-right for petroleum projects  No 1228/TCÑC- PC dated 16/8/2000 by the General Department of Land Management
- Quyeát ñònh cuûa Thuû töôùng Chính Phuû soá 1252/QÑ-TTg ngaøy 13/12/2000 veà vieäc cho thueâ ñaát ñeå ñaàu tö xaây döïng Traïm tieáp nhaän vaø xöû lyù khí Nam Coân Sôn, caûng vaø ñöôøng vaøo caûng thuoäc Döï aùn ñöôøng oáng daãn khí Nam Coân Sôn, tænh Baø Ròa – Vuõng Taøu.

Decision of the Premier Minister No1252/QÑ-TTg  on 13  December  

2000 about the land lease for the investment and construction of Dinh Co, 
Terminal harbour and road to the harbour of Nam Con Son Gas Pipeline  
at Ba Ria Vung Tau Province.
- Giaáy chöùng nhaän quyeàn söû duïng ñaát do cô quan Nhaø nöôùc coù thaåm Quyeàn ñöôïc quy ñònh taïi ñieàu 36 – Luaät Ñaát ñai vaø muïc IV Thoâng tö soá

346/1998/TT-TCÑC ngaøy 16/3/1998 cuûa Toång Cuïc Ñòa chính höôùng daãn

thuû tuïc ñaêng kyù ñaát ñai, laäp hoà sô ñòa chính vaø caáp giaáy chöùng nhaän quyeàn söû duïng ñaát

Land use right certificate issued by the State Authority(ies) regulated by
at the Clause 36-Law of land and the article IV of the Circular No  346/1998/TT-TCÑC dated 16/3/1998 by the General Department of Cadastral 

guiding procedures of land registration for the cadastral document 

and issuing certificate of land use right.

- Vaên baûn soá 298/UB-VP ngaøy 23 thaùng 5 naêm 2002 cuûa Uûy ban nhaân daân huyeän Long Ñaát, tænh Baø Ròa-Vuõng Taøu veà vieäc xaùc nhaän hoaøn thaønh coâng taùc ñeàn buø, giaûi phoùng maët baèng döï aùn coâng trình Traïm tieáp nhaän vaø xöû lyù khí Nam Coân Sôn, caûng vaø ñöôøng vaøo caûng, keânh thoaùt nöôùc thuoäc xaõ An Ngaõi huyeän Long Ñaát.

Letter No 298/UB-VP On 23 May 2002  by the People’s Committee of Long Dat District, Ba Ria Vung Tau Province about confirmation of completion of the compensation and release for area of Project, terminal Nam Con Son for air receipt and treatment, harbour and road in to harbour, drainage channel of An Ngai Commune, Long Dat District.
- Hôïp ñoàng thueâ ñaát kyù giöõa cô quan Nhaø nöôùc quaûn lyù ñaát ( hoaëc Ban QLDA khu cheá xuaát, coâng nghieäp) vaø Chuû ñaàu tö (Thoâng tö soá 293/TT/ÑC ngaøy 14 - 3 -1997 cuûa Toång cuïc ñòa chính- Höôùng daãn veà vieäc laäp hoà sô xin giao ñaát, thueâ ñaát ñoái vôùi caùc toå chöùc trong nöôùc cho thueâ laïi ñaát trong khu coâng nghieäp, khu cheá xuaát).

Land lease contract between the land management Authority(ies) (or The Management Board of the IP, IPZ) and the Project Owner (Circular No 293/TT-ÑC dated 14/3/1997 by the General Department of Cadastral guiding the application procedure for for using and/or leasing land owned by the local land management Authority(ies) which have right to lease land in IP, EPZ).

+ Quyeát ñònh veà vieäc pheâ duyeät ñôn giaù thueâ ñaát cho Döï aùn ñöôøng oáng 

daãn khí Nam Coân Sôn soá 1129/QÑ-UB ngaøy 10 thaùng 3 naêm 2000 cuûa
Uyû ban nhaân daân tænh Baø Ròa Vuõng Taøu.

Approval decision on the unit price for leasing the land of the Nam Con Son Gas Pipeline Project No1129/QÑ-UB dated 10/3/2000 of The People’s Committee of Ba Ria Vung Tau Province.


	2.3  2.5

Chöa coù vì ñang laøm cho toaøn döï aùn ñöôøng oáng daãn khí Nam Coân Sôn.

2.3    2.5

Not  available 

as the application for land use right for the whole NCS Project is under process. To be submitted.
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3.1

3.2

3.3

3.4

3.5

3.6

3.7


	Caùc vaên baûn chaáp thuaän cuûa caùc cô quan Nhaø nöôùc ( neâu roõ soá, ngaøy, thaùng naêm cuûa vaên baûn ) veà :

Approval agreements of the State Authorised Bodies (numeral deed, 

Date of deed) on:

- Quy hoaïch vaø Kieán truùc / Planning and Architecture

+ Baûn chöùng chæ qui hoaïch soá 09/CCQH do Sôû Xaây Döïng – UBND tænh Baø Ròa Vuõng Taøu caáp ngaøy 07 thaùng 01 naêm 1999.

The planning certificate No 09/CCQH by the Construction Department of Ba Ria Vung Tau. – People’s Committee dated 7 /1/1999.

+ Baûn thoaû thuaän veà ñòa ñieåm cho vieäc xaây döïng Traïm tieáp nhaän vaø xöû lyù khí Nam Coân Sôn taïi Dinh Coá, xaõ An Ngaõi, huyeän Long Ñaát do Uyû ban nhaân daân tænh Baø Ròa Vuõng Taøu caáp soá 2497-UB-XD ngaøy 28 thaùng 7 naêm 2000.

Agreement on the locations for construction of the terminal for reception and processing of the Nam Con Son gas in Dinh Co, An ngaõi Commune,Long Dat District by the People’s Committee of Baø Ròa –VuõngTaøu No 2497-UB-XD on 28 July 2000

- Baùo caùo thaåm tra thieát keá kyõ thuaät toång theå coâng trình ñöôøng oáng daãn khí Nam Coân Sôn soá 264 –2000/TVXD-CTB ngaøy 04/04/2000 cuûa Vieän xaây döïng coâng trình bieån- Ñaïi hoïc xaây döïng.

Report on the review of the FEED – the Nam Con Son Gas Project No 2000/TVXD - CTB dated 04/04/2000 by the Institute of Offshore Engineering – The Civil Engineering University

- Coâng vaên veà vieäc boå sung baùo caùo thaåm tra thieát FEED - Döï aùn Ñöôøng oáng daãn khí Nam Coân Sôn soá 131/2000/CV TVXD-CTB cuûa Vieän xaây döïng coâng trình bieån – Ñaïi hoïc xaây döïng.

The Supplementary Report on review of the FEED – The Nam Con Son Gas Project No131/2000/CV TVXD-CTB by the Institute of Offshore Engineering the Civil Engineering University

-Baùo caùo keát quaû thaåm ñònh thieát keá kyõ thuaät toång theå coâng trình döï aùn ñöôøng oáng daãn khí Nam Coân Sôn soá 65/BC-VPTÑ ngaøy 26/12/2000 cuûa Vaên phoøng thaåm ñònh, Boä Xaây Döïng.

Final Design Appraisal Report on the FEED of the Nam Con Son Pipeline Project No 65/BC-VPTÑ on 26 Dec2000 by the Appraisal Department of the MOC
- Quyeát ñònh cuûa Boä tröôûng Boä Xaây DöÏng soá 1907/2000/QÑ-BXD ngaøy 29 thaùng 12 naêm 2000 veà vieäc chaáp thuaän thieát keá kyõ thuaät toång theå vaø xaây döïng coâng trình Ñöôøng oáng daãn khí Nam Coân Sôn 

Decision of the MOC Minister No 1907/2000/QÑ- BXD dated 29/12/2000 for the approval of the FEED of the Nam Coân Sôn Pipeline Project for construction purpose 
- Baûn thoaû thuaän veà thieát keá vaø thieát bò phoøng chaùy, chöõa chaùy 

Agreements of the design and equipment for fire fighting purposes

+ Hieän ñang trình Boä coâng an duyeät thieát keá chi tieát PCCC.

Fire fighting detailed design submitted for the MoP approval
- Quyeát ñònh cuûa Boä tröôûng Boä khoa hoïc coâng ngheä vaø moâi tröôøng soá 1005/QÑ –BKHCNMT ngaøy 7 thaùng 6 naêm 2000 veà vieäc pheâ chuaån baùo caùo ñaùnh giaù taùc ñoäng moâi tröôøng Ñeà aùn Ñöôøng oáng daãn khí Nam Coân Sôn thuoäc toång coâng ty daàu khí Vieät Nam.

DEIA was accepted by the MOSTE decision No 1005/QÑ –BKHCNMT  dated 7th June 2000 which approved the Environmental impact assessment(EIA)  of the NCSP Project of the PetroVietnam.


	Ñang tieán haønh. Seõ boå xung.

Under application process. To be added 
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4.1

4.2

4.3

4.4


	Vaên baûn chaáp thuaän cuûa caùc cô quan quaûn lyù chuyeân ngaønh coù thaåm quyeàn veà vieäc cho pheùp söû duïng coâng trình kyõ thuaät  ngoaøi haøng raøo:

Approval letter(s) of State Authorised bodies for the use of the engineering facilities outside the project.

- Caáp ñieän (khaû naêng cung caáp ñieän) / Electrical power supply:

Döï aùn töï cung caáp ñieän phuïc vuï saûn xuaát, khoâng söû duïng nguoàn ñieän cuûa coâng ty ñieän löïc.

The Project is self-supplying electricity for the manufacturing purposes. Therefore, the State electrical power supply will not be used. 

- Söû duïng nguoàn nöôùc / Use of water supply.

Hieän ñang tieán haønh thuû tuïc xin. 

The application procedure is on the progress. 

- Thoaùt nöôùc (ñaáu noái vaøo heä thoáng nöôùc thaûi chung): 

Drainage system (connecting to the local drainage system)

Ñang lieân heä vôùi Sôû giao thoâng coâng chính ñeå tieán haønh thuû tuïc naøy.

The application procedure is on the progress with the Transportation Department.

- Ñöôøng giao thoâng boä, thuûy (vieäc söû duïng ñöôøng chung):
Traffic roads (use of the state roads):

Ñang lieân heä vôùi Sôû giao thoâng coâng chính ñeå tieán haønh thuû tuïc naøy.

The application procedure is on the progress with the Transportation Department.

	Ñang tieán haønh

Under process to be added

Ñang tieán haønh

Under process to be added

Ñang tieán haønh

Under process to be added

	    5.
	- Baùo caùo ñaùnh giaù & keát quaû ñaáu thaàu cuûa Chuû ñaàu tö 

The Report on the Tender evaluation by the Project Owner 

+ Baùo caùo ñaùnh giaù keát quaû ñaáu thaàu do toå chuyeân gia xeùt thaàu cuûa Petro Vieätnam vaø oâng Paul Nash tröôûng nhoùm thöông maïi kyù ngaøy 27/11/2000

The Report for comments and Tender Result signded  on 27/11/2000.

+Vaên baûn soá 445 BKH/VPXT ngaøy 19 /1 /2001 cuûa Boä keá hoaïch vaø ñaàu tö veà vieäc thoûa thuaän keát quaû ñaáu thaàu mua saém vaø xaây laép Traïm xöû lyù khí  vaø ñöôøng oáng treân bôø cuûa döï aùn ñöôøng oáng daãn khí Nam Coân Sôn

The agreement on the result of the detailed evaluation of EPC Tender of Dinh Co Terminal and Onshore Pipeline of the NCSP Project- No 445 BKH/VPXT dated 19/1/2001 by the MPI.

+ Quyeát ñònh cuûa hoäi ñoàng quaûn trò Toång coâng ty daàu khí Vieät nam veà vieäc pheâ duyeät keát quaû ñaáu thaàu goùi thaàu mua saém vaø xaây laép Traïm xöû lyù khí  vaø ñöôøng oáng treân bôø cuûa döï aùn ñöôøng oáng daãn khí Nam Coân Sôn  soá 359/QÑ- HÑQT ngaøy 30 thaùng 1 naêm 2001.

The decision of  the Board of Management of the PetroVietnam for the approval of the detailed evaluatyion result of the EPC tender of  the Dinh Co terminal and onshore pipeline of the Nam Con Son Gas Pipeline Project No 359/Q- HÑQT dated 30/1/2000
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  6.1

   6.2

  6.3
    6.4

6.5

6.6


	Hôïp ñoàng giöõa Chuû ñaàu tö vôùi tö vaán khaûo saùt , thieát keá , giaùm saùt , kieåm ñònh chaát löôïng xaây döïng vaø Nhaø thaàu chính cuõng nhö hôïp ñoàng giöõa nhaø thaàu chính vaø caùc nhaø thaàu phuï phaàn  ñaøi coïc, daàm giaèng moùng, keát caáu ngaàm vaø keát caáu thaân  cuûa coâng trình Traïm xöû lyù khí Dinh coá  

Contracts between the Project Owner and the Site Surveyor(s), engineer(s), the Site Supervisor(s), construction quality Inspector and the Contractor as well as Contracts between the Contractor and Sub-contractor(s) for the  pile caps, footing tie beams, sub-structure and super-structure of Terminal Dinh Co Project

-Khaûo saùt/Survey :
+ Hôïp ñoàng khaûo saùt giöõa Chuû ñaàu tö vaø Fugro Singapore soá VIETNAM-CON-HC/PMT/F/14/14.1/0001  ngaøy 24/ 6 /1996.

Survey Contract between the Project Onwer (BP) and the Fugro Singapore No VIETNAM-CON-HC/PMT/F/14/14.1/0001 on 24/ 06 /1996.

+ Thoaû thuaän  5/1996 giöõa BP , Fugro vaø Coâng ty tö vaán thieát keá GTVT phía nam – Boä giao thoâng vaän taûi veà vieäc khaûo saùt ñòa chaát taïi coâng  tröôøng Traïm xöû lyù khí Dinh Coá cuûa Döï  aùn Nam Coân Sôn.

The Agreement between the BP-Fugro and the Tedisouth of the MoT in June 1996 on the topographical survey at the Dinh Co Site for the gas terminal and the gas distribution station of the Nam Con Son Project.

- Thieát keá toång theå / FEED:

+ Hôïp ñoàng giöõa Chuû ñaàu tö (BP) vaø Thieát keá chính BROWN & ROOT Engineering Pty Ltd - Myõ  soá HC/PMT/F/2/3-0001 ngaøy 29 /5 /1997.

The contract between the Project Owner (BP) and the Designer (BROWN & ROOT Engineering Pty Ltd - Myõ) No HC/PMT/F/2/3-0001, dated  29 / 5 /1997.
- Kieåm tra thieát keá / Detail design review:

+ Hôïp ñoàng giöõa Chuû ñaàu tö  (BP) vaø Vieän xaây döïng coâng trình bieån – Ñaïi hoïc xaây döïng soá 2112/99/TVTÑ ngaøy 21 thaùng 12  naêm 1999 veà vieäc thaåm tra Thieát  keá kyõ thuaät caùc haïng muïc coâng trình cuûa döï aùn Ñöôøng oáng daãn khí Nam Coân Sôn.

The contract between the Project Owner (BP) with the Institute of  Offshore Project Construction – The Civil Engineering University  No 2112/99/TVTÑ on 21 December 1999 for the design review for the Items of the Nam Con Son Gas Pipeline Project.

- Thieát keá chi tieát vaø thi coâng / EPC (Detailed design and Contruction)

  + Hôïp ñoàng giöõa Chuû ñaàu tö (BP) &Nhaø thaàu chính Mc Connell- Dowell soá C1/NCS/1091 ngaøy 3  thaùng 5 naêm 2001.

The Contract between the Project Owner (BP) and the Contractor MCD
No C1/NCS/1091, dated  03 May 2001.

- Kieåm ñònh chaát löôïng / Quality Control:
+ Hôïp ñoàng giöõa Chuû ñaàu tö (BP) vaø Coâng ty kieåm ñònh chaát löôïng  cuûa NaUy (DNV) soá  SC/NCS/1063 ngaøy 4 thaùng 5 naêm 2001.   

The contract between the Project Owner (BP) and the Quality Inspector DNV - Norway) No.SC/NCS/1063, dated 4th May 2001.

- Hôïp ñoàng giöõa Nhaø thaàu chính vaø caùc nhaø thaàu phuï phaàn ñaøi coïc, daàm giaèng moùng, keát caáu ngaàm vaø keát caáu thaân). 

The contract between the Contractor and Sub-contractor(s) (for the  pile caps, footing tie beams, sub-structure and super-structure)

+ Hôïp ñoàng giöõa Nhaø thaàu chính vaø Fugro Singapore Pte Ltd veà phaân tích ñòa kyõ thuaät, moùng vaø coïc.

The contract between the Contractor and the Fugro Singapore Pte Ltd for geotechnical, foundations and bored piles analysis.  

+ Hôïp ñoàng giöõa Nhaø thaàu chính vaø Shedden Uhde veà thieát keá chi tieát phaàn xaây döïng

The contract between the Contractor and  the Shedden Uhde for the detailed Design for the Civil work 

+ Hôïp ñoàng giöõa Nhaø thaàu chính  vaø Coâng ty TNHH xaây döïng daân duïng vaø coâng nghieäp DELTA veà vieäc Thi coâng coïc nhoài , Slug catcher, ñaøi coïc Soá SC/5684/009 ngaøy 13/8/2001 vaø soá SC/5684/056

Contract between the Contractor and the Civil and Industrial Construction (CIC) DELTA Co. Ltd for delivering of bored piles, SlugCatcher & pile caps No CS/5684/009 on 13/8/2001 and No SC/5684/056.

+ Hôïp ñoàng giöõa Nhaø thaàu chính vaø Coâng ty TNHH xaây döïng - dòch vu ï- thöông maïi Thaûo Ly - soá  SC/5684/061, ngaøy 17 /12 /2001 veà dòch vuï thi coâng xaây döïng vaø cô khí.

Contract between the Contractor and Thao Li Construction, Services and Trading Co. Ltd No  SC/5684/061, dated 17 /12 /2001 for delivery of building work and mechanical services 
+ Hôïp ñoàng giöõa Nhaø thaàu chính vaø Coâng ty xaây döïng cô baûn – Boä  giaùo  duïc vaø ñaøo taïo (GCC) soá SC/5684/068, ngaøy 12/11/2001 veà vieäc cung caáp thieát bò bôm beâ toâng.

Contract between the Contractor and the Construction Company – Ministry of Education and Training (GCC) No SC/5684/068 on 12/11/2001 for delivery/leasing of the Concrete Pumping Trucks.

+ Hôïp ñoàng giöõa Nhaø thaàu chính vaø Coâng ty ñaàu tö vaø phaùt trieån haï  taàng soá SC/5684/011V, ngaøy 30/8/2001 veà vieäc cung caáp beâ toâng thaønh phaåm.
Contract between the Contractor and the Infrastructure Development &Invesment Co.(IDI) No SC/5684/011V  on 30/8/2001 for delivery of ready/mixed concrete

+ Hôïp ñoàng giöõa Nhaø thaàu chính vaø Coâng ty TNHH cung öùng vaø dòch vuï daàu khí (PSSC) soá SC/5684/067 thaùng2 /2001 veà vieäc cung caáp caùc thieát bò xaây döïng.

Contract between the Contractor and the Petroleum Supplies and Services
Co.Ltd – (PSSC ) No SC/5684/067  on 2/2001  for delivery of  civil engineering equipment
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7.1

7.2

7.3

7.4

    7.5

7.6


	Giaáy pheùp thaàu tö vaán xaây döïng cuûa tö vaán nöôùc ngoaøi. 

Contracting permit for Foreign Construction Consultants
- Quaûn lyù döï aùn /Project management

Chuû ñaàu tö töï quaûn lyù theo phaïm vi kinh doanh trong giaáy pheùp ñaàu tö: BP ñöôïc chæ ñònh laøm Nhaø Ñieàu haønh theo Hôïp ñoàng naøy ñeán heát thôøi haïn 5 naêm keå töø khi döï aùn Baét ñaàu Hoaït ñoäng. Caùc Beân thoûa thuaän raèng quyeàn ñieàu haønh seõ ñöôïc chuyeån giao cho PetroVietnam khi heát thôøi haïn 5 naêm sau khi Baét ñaàu Hoaït ñoäng sau moät chöông trình ñaøo taïo thích hôïp cho caùc nhaân vieân cuûa Petro Vietnam theo caùc quy ñònh cuûa Phuï luïc 3 cuûa Hôïp ñoàng naøy.

The Project Operator (BP) is Project Owner and is to self-manage the Project as accepted by the business scope of the Investment license and the BCC contract (refer to artcle 10.3 of the BCC contract of the PetroVietnam, BP and State Oil).

Danh saùch quyeát ñònh nhaân söï cuûa BP : ñính keøm. 

The list of BP’s authorized members of the project team: enclosed. 
- Khaûo saùt / Survey

Thöïc hieän bôûi Fugro Singapore PTE. LTD. Do tieán haønh khaûo saùt (1996) tröôùc khi ñöôïc caáp giaáy pheùp ñaàu tö (naêm 2000) neân hieän nay môùi laøm boå sung Giaáy pheùp soá 13-2002 BXD/GPTXD do Boä xaây döïng caáp ngaøy 14-6-2002. Xem phaàn giaûi trình ôû caùc vaên baûn giöõa BP vaø PetroVietnam veà vieäc löïa choïn nhaø thaàu khaûo saùt trong giai ñoaïn 1996-1997.

Carrried out by the Fugro Singapore PTE. LTD. The survey was carrried out (in 1996) before the granting of the Investment license (in 2000) and the extension of the Contractor's Permit No 13-2002 BXD/GPTXD is issued by the MOC dated 14th June 2002. Refer to copies of official correspondences between the BP and the PetroVietnam on the selection procedure for the survey contractor during 1996-1997 period.

 - Thieát keá  / Design

+ Thieát keá sô boä thöïc hieän bôùi coâng ty JP KENNY (nhaø thaàu phuï cuûa coâng ty BROWN ENERGY SERVICES – BRES- Myõ).

The FEED was carried out by the JP KENNY Co - Malaysia (Sub-consultant of the BROWN ENERGY SERVICES – BRES- USA).

+ Thieát keá trieån khai chi tieát do Shedden (thaàu phuï cuûa Mc Connell Dowell) thöïc hieän. Giaáy pheùp thaàu xaây döïng soá 13-2002 BXD/GPTXD do Boä xaây döïng caáp ngaøy 14-6-2002.

The detail design was carried out by the Shedden (company is Sub-Contractors of the MCD) with the construction lisence No 13-2002 BXD/GPTXD by the MOC date 14th June 2002.

- Kieåm ñònh chaát löôïng / Construction Quality Inspection:

+ Do nhaø thaàu chính Mc Connell Dowell thöïc hieän vôùi caùc thaàu phuï

Carried out by the Mc Connell Dowel with sub-constrator(s)

- Giaùm saùt , quaûn lyù chaát löôïng xaây döïng : 

Supervision, construction and quality management:

+ Do chuû ñaàu tö töï thöïc hieän / Self-managed by the Project Owner.

- Giaùm saùt khoái löôïng / Quantity supervision.

+ Do chuû ñaàu tö töï thöïc hieän /Self-managed by the Project Owner.
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8.1

8.2

  8.3


	Ñieàu kieän kinh doanh cuûa toå chöùc tö vaán xaây döïng trong nöôùc 

The operation conditions of local engineering consultants. 

-  Khaûo saùt / Survey 

+ Coâng ty tö vaán thieát keá GTVT phía nam (TEDI SOUTH) – Boä giao thoâng vaän taûi - thöïc hieän khaûo saùt ñòa chaát taïi coâng tröôøng Dinh Coá cho traïm xöû lyù vaø phaân phoái khí cuûa döï aùn Nam Coân Sôn.

Transpport Engineering Design Incorporated South (TEDI SOUTH) of the MOT has carried out topographical survey at Dinh Co Site for the gas Terminal and distribution station of Nam Con Son Project
Ñòa chæ:    92 Nam Kyø khôûi nghóa. Q1, TP.HCM.

Address:   92 Nam Ky Khoi Nghia District1, HCM city.
Thoaû thuaän :   giöõa FUGRO- TEDIS vaø BP 6/1996.
The Agreement:  between FUGRO – TEDIS and BP in 6/1996.
Chöùng chæ haønh ngheà tö vaán xaây döïng: soá 174/BXD- CSXD ngaøy 12- 11-1999 do Boä xaây döïng caáp.

Professional Certificate of Construction Consultancy: No 174/BXD-CSXD

On 12/11/1999 issued by the MoC.

Quyeát ñònh thaønh laäp doanh nghieäp nhaø nöôùc:    soá 912 QÑ/TCCB-LÑ ngaøy 25/03/1995 do Boä tröôûng Boä giao thoâng vaän taûi caáp.

Decision of the state owned company establishment:  No 912 QÑ/TCCB-
LÑ on 25/03/1995 issued by the Ministry of  Transport
Giaáy chöùng nhaän ñaêng kyù kinh doanh:    soá 102275 ngaøy 29/12/1995 do UÛy ban keá hoaïch Tp.HCM caáp (nay laø Sôû Keá hoaïch Ñaàu tö). 

Business Certificate: No 102275  on 29/12/1995 issued by HCM Planning Committee (now Department of Planning and Investment).
Söû duïng phoøng thí nghieäm ñöôïc coâng nhaän hôïp chuaån: 
Used  laboratory legalized for conformity-standards:
Quyeát ñònh cuûa Boä tröôûng Boä giao thoâng vaän taûi soá 1372/QÑ-BGTVT  ngaøy 10 thaùng 5 naêm 2001 veà vieäc coâng nhaän khaû naêng thöïc hieän caùc pheùp thöû cuûa phoøng thí nghieäm chuyeân ngaønh xaây döïng giao thoâng. Decision by the Minister of the Ministry of Transport No1372/QÑ-BGTVT
On 10th may 2001 to approve the potential performance for experiments specialised in transport engineering
- Thaåm tra thieát keá toång theå / FEED review:

+ Thöïc hieän bôûi Vieän xaây döïng coâng trình bieån – Ñaïi hoïc xaây döïng. 

Carried out by the Institute of  Offshore Engineering – Civil Engineering University. 

Ñòa chæ: Tröôøng Ñaïi hoïc xaây döïng, soá 5 ñöôøng Giaûi phoùng, quaän Hai Baø Tröng, Haø noäi.

Address: Civil Engineering University, 5 Giai phong street, Hai Ba Trung District, Ha noi.
Chöùng chæ haønh ngheà tö vaán xaây döïng: soá 133/BXD- CSXD ngaøy 30 thaùng 8 naêm 1999 do Boä Xaây Döïng caáp.

Professional Certificate of Construction Consultancy: No 133/BXD-CSXD 

on 30/8/1999 issued by MoC.

Giaáy chöùng nhaän ñaêng kyù hoaït ñoäng Khoa hoïc vaø Coâng ngheä: soá 402 ngaøy 20/06/1995 do Boä khoa hoïc Coâng ngeä vaø moâi tröôøng caáp.

Professional Certificate for Science & Industry activities: No 402 on 20/6/1995 issued by MOSTE.
- Kieåm ñònh chaát löôïng xaây döïng / Construction quality inspection 

+ Trung taâm kyõ thuaät tieâu chuaån Ño löôøng chaát löôïng 3 – Keùo theùp, kieåm tra sika, neùn maãu beâ toâng.

Quatest 3 – Tesing for additional compound test (sika),  concrete Compressive test.
Ñòa chæ:    49 Pasteur, quaän 1, Tp.HCM
Address:   49 Pasteur Street, District1, HCM City
Giaáy chöùng nhaän ñaêng kyù hoaït ñoäng KH&CN:  soá 412 ngaøy 12/8/1995 do Boä khoa hoïc coâng ngheä vaø moâi tröôøng caáp.

 Professional Certificate for Science & Industry activities: No 412 on 12/8/1995 issued by MOSTE.

Hôïp ñoàng soá: CS/5684/007 ngaøy 14/8/2001 vôùi Nhaø thaàu McConnell Dowell.

SubContract: No CS/5684/007 on 14/8/2001 with the Contractor McConnell Dowell.

Söû duïng phoøng thí nghieäm ñöôïc coâng nhaän hôïp chuaån: Chöa laáy ñöôïc vaên baûn naøy.
Used  laboratory legalized for conformity-standard: Not yet available

+ Coâng ty khoan vaø dòch vuï khoan daàu khí – Thöû nghieäm NDT vaø kieåm tra moái haøn cuûa SlugCatcher.

Petro Viet Nam Drilling and Well Services Co (PV Drilling Co) –NDT
Tests for weldingconnection of the Slug catcher.

Ñòa chæ: Laàu 2 Nhaø G1 khaùch saïn Thanh Ña, P27, quaän Bình Thaïnh Tp HCM.

Address: Floor 2 – G1 Thanh Da hotel,  Ward 27, Binh Thanh District HCM city.

Soá HÑ:  SC/5684/016, ngaøy 4 /12 /2001 vôùi Nhaø thaàu chính McConnell Dowell.

Sub contract No: SC/5684/016, on 4 /12 /2001 with  Contractor MCD.

Giaáy chöùng nhaän ñaêng kyù kinh doanh:   soá 113063 ngaøy 7/1/2002 do Sôû keá hoaïch vaø ñaàu tö Thaønh phoá Hoà Chí Minh caáp.

Business Certificate:  No 113063 on 7/1/2002,  issued by  Planning & Investment Department of HCM City.

Söû duïng phoøng thí nghieäm ñöôïc coâng nhaän hôïp chuaån:  Chöa laáy ñöôïc vaên baûn naøy.
Used  laboratory legalized for conformity-standard:   Not yet available


	Seõ boå xung/ to be added. 
Seõ boå xung

To be added
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	Giaáy pheùp thaàu xaây duïng cuûa caùc nhaø thaàu xaây döïng  nöôùc  ngoaøi - thöïc hieän theo Thoâng tö soá 16 /2000/TT-BXD ngaøy 11- 12-2000 cuûa Boä xaây döïng ) caùc phaàn :
Business License of foreign Contractor(s) as required by the Circular No 16/2000/TT-BXD by the MOC dated 11th December 2000 for:

- Ñaøi coïc, daàm giaèng moùng, keát caáu ngaàm vaø keát caáu thaân: 

Pile caps, tie beams, sub-structures and super-structures : 

+ Nhaø thaàu nöôùc ngoaøi McConnell Dowell Ltd– Giaáy pheùp thaàu XD soá 13-2002 BXD/GPTXD do Boä xaây döïng caáp ngaøy 14-6-2002. 

The Contractor is MCD- Construction lisence No 13-2002 BXD/GPTXD By the MOC dated 14th June 2002.
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10.1

 10.2

  10.3

10.4

10.5

 10.6

  10.7

  10.8


	Ñieàu kieän hoaït ñoäng kinh doanh cuûa nhaø thaàu xaây laép trong nöôùc 

The operation conditions of the local Contractor(s).

+ Coâng ty TNHH xaây döïng daân duïng vaø coâng nghieäp DELTA – Thi coâng coïc nhoài cuûa Slug catcher vaø ñaøi coïc.

Civil and Industrial Construction DELTA Co.Ltd carried out the construction of bored piles, SlugCatcher & Pile Caps. 

Ñòa chæ: 76 Tueä Tónh, quaän Hai Baø Tröng, Tp Haø Noäi.

Address: 76 Tue Tinh Street , Hai Ba Trung District, HaNoi city
Giaáy pheùp thaønh laäp coâng ty:  soá 287/QÑUB do UBND Thaønh phoá Haø Noäi caáp ngaøy 18/01/1993.

Company Establishment Certificate : No 287/QÑUB issued  by  HaNoi People’s Committee on 18/01/1993
Hôïp ñoàng: Soá SC/5684/009 ngaøy 13/8/2001 vôùi Nhaø thaàu chính McConnell Dowell.

SubContract: No CS/5684/009 on 13th August 2001 with the Contractor McConnell DowellLtd
+ Coâng ty TNHH xaây döïng - dòch vu ï- thöông maïi Thaûo Ly- Dich vuï thi coâng xaây döïng vaø cô khí.

Thao Li Construction, Services and Trading Co. Ltd – General Construction &Mechanics Services
Ñòa chæ:  215D6  Ñoaøn Thò Ñieåm, P1, Q Phuù Nhuaän, Tp.HCM.

Address: 215 D6  Doan Thi Diem Street, Ward 1, Phu Nhuan District, HCM city.

Soá HÑ: SC/5684/061, ngaøy 17 /12 /2001 vôùi Nhaø thaàu chính McConnell Dowell.

Sub contract No: SC/5684/061, dated 17th December 2001 with the Contractor MCD.

Giaáy chöùng nhaän ñaêng kyù kinh doanh soá : 4102000955 ngaøy 5/5/2000 do Sôû keá hoaïch vaø ñaàu tö  Tp. Hoà Chí Minh caáp.

Business certificate No: 4102000955 on  5th May 2000  issued  by  the Planning & Investment Department of HCM City
+ Coâng ty Xaây döïng cô baûn – Boä  Giaùo duïc – Cung caáp thieát bò bôm BT

Construction Company of Ministry of Education and Training (GCC)- Leasing of Concrete Pumping Trucks.

Ñòa chæ: Nhaø V3, ñöôøng Ngoïc Khaùnh, quaän Ñoáng Ña, Tp Haø Noäi. 

Address: Block V3, Ngoc Khanh Street, Dong Da District, Ha Noi City.

Soá HÑ: SC/5684/068, ngaøy 12/11/2001 vôùi Nhaø thaàu chính McConnell Dowell.

Sub contract No: SC/5684/068 on 12th November 2001 with the Contractor MCD. 

Giaáy chöùng nhaän ñaêng kyù kinh doanh: soá 100137 ngaøy 17/12/1994 do Uûy ban keá hoaïch Tp Haø Noäi caáp.

Business Certificate: No 100137 on 17/12/1994 issued by the Planning Committee of Ha Noi dated 17th December 1994..

+ Coâng ty TNHH thöông maïi laép ñaët vaät lieäu caùch nhieät Vuõng Taøu – Cung caáp, laép ñaët giaøn giaùo. 

Vung Tau Isulation Co Ltd – Supply, erection, modification and dismanting of scaffolds
Ñòa chæ: soá 9 Hoaøng Dieäu, P1, Tp Vuõng Taøu.

Address : 09- Hoang Dieu Street, Ward 1, Vung Tau City
Soá HÑ:  SC/5684/031, ngaøy 15 /11 /2001 vôùi Nhaø thaàu chính McConnell Dowell.

Sub contract No: SC/5684/031, on 15th November 2001 with the Contractor MCD
Giaáy pheùp thaønh laäp coâng ty: soá 002647 ngaøy 7/4/1999 do UBND tænh Baø RòaVuõng Taøu caáp. 

Establishment Certificate :  No 002647 on 7/4/1999,  issued by Ba Ria-Vung Tau People’s Committee.

+ Coâng ty ñaàu tö vaø phaùt trieån haï taàng – Cung caáp beâ toâng thaønh phaåm.

Infrastructure Development & Invesment Co.(IDI) – Provision of Batched Concrete

Ñòa chæ: 15 Hoaøng Hoa Thaùm,  quaän Bình Thaïnh , Tp  HCM

Address: 15 Hoang Hoa Tham Street, Binh Thanh  District , HCM City.
Soá HÑ: SC/5684/011V, ngaøy 30/8/2001 vôùi Nhaø thaàu chính McConnell Dowell.

Sub contract No: SC/5684/011V, on 30th August 2001 with the Contractor MCD
Chöùng chæ haønh ngheà xaây döïng: soá 873/SXD-QLDN ngaøy 30/7/1999 do UBND TPHCM caáp.

Certificate for Construction: No 873/SXD-QLDN on 30th July 1999 issued by HCM People’s Committee.

Quyeát ñònh thaønh laäp DNNN:  soá 77/QÑ-UB ngaøy 11/3/1993 cuûa UBND Tp HCM caáp.

Decision of Estabishment of the Commpany: No 77/QÑ-UB on 11th March 1993 issued by the HCM People’s Committee
Giaáy chöùng nhaän ñaêng kyù kinh doanh:  soá 102434 ngaøy 15/3/1993 do Sôû keá hoaïch vaø ñaàu tö Tp HCM caáp.

Business  Certificate:  No 102434 on 15th March 1993  issued by the Planning & Investment Department of HCM City.
+ Coâng ty TNHH cung öùng vaø dòch vuï daàu khí (PSSC) – Cung caáp caùc thieát bò xaây döïng.

Petroleum Supplies and Services Co.Ltd – (PSSC) - Provision of Civil Plant Equipment

Ñòa chæ: 747/10 Tröông Coâng Ñònh, phöôøng 9,  Tp Vuõng Taøu. 

Address: 747/10 Truong Cong Dinh Street, Ward 9, Vung Tau City.
Soá HÑ: SC/5684/067 thaùng 2/2001 vôùi Nhaø thaàu chính McConnell Dowell.

Sub contract No: SC/5684/067 on February 2001 with the Contractor MCD.
Giaáy chöùng nhaän ñaêng kyù kinh doanh: soá 4902000099 ngaøy 5/12/2000 do Sôû keá hoaïch vaø ñaàu tö  Tænh Baø Ròa Vuõng Taøu caáp.

Business  Certificate:  No 4902000099 on 5th December 2000  issued by the Planning & Investment Department of Ba Ria-Vung Tau  City.
+ Coâng ty dòch vuï du lòch daàu khí (PVTSC) – Caùc dòch vuï coâng tröôøng.

Petrol Viet Nam Tourist and Services Co. Ltd (PVTSC) –Site Office Services

Ñòa chæ:12A-B cö xaù Thanh Ña, phöôøng 27,  quaän Bình Thaïnh, Tp HCM 

Address:  12A-B Thanh Da , Ward 27, Binh Thanh District, HCM City
Soá HÑ: SC/5684/010  vôùi Nhaø thaàu chính McConnell Dowell.

Sub contract No: SC/5684/010  with the Contractor MCD
Giaáy chöùng nhaän ñaêng kyù kinh doanh: soá 103383 ngaøy 31/7/1996 do Sôû keá hoaïch vaø ñaàu tö  Tp HCM  caáp.

Business  Certificate: No 103383 on 31th July 1996 issued by the Planning & Investment Department of HCM City. 
+ Coâng ty laép maùy vaø xaây döïng 45-1: Laép ñaët giaù ñôõ keát caáu theùp, ñöôøng oáng daãn khí.

Erection & Construction Co. 45-1: Provision of Labours for instalation of pipelines.

Ñòa chæ: 140 Ñieän Bieân Phuû, quaän 1, Tp HCM. 

Address: 140 Dien Bien Phu Street, District 1, HCM City. 

Soá HÑ: SC/5684/035, ngaøy 27/9/2001 vôùi Nhaø thaàu chính McConnell Dowell.

Sub contract No: SC/5684/035 on 27th September 2001 with the Contractor MCD
Chöùng chæ haønh ngheà xaây döïng: soá 519 ngaøy 16/12/1997 do Boä Xaây Döïng  caáp.

Certificate for Construction:  No 519 issued by the MOC on 16th December 1997.
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	Hôïp ñoàng lieân danh vôùi nhaø thaàu Vieät Nam hoaëc baûn cam keát söû duïng thaàu phuï Vieät Nam theo qui ñònh cuûa Qui cheá Ñaáu thaàu Vieät Nam

JV contract with Vietnamese contractor(s) or official commitment to use

of Vietnamese sub-contractor(s) as guided by the tender regulation.


	Khoâng coù

(Not available)
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	Hoà sô Thieát keá kyõ thuaät toång theå toaøn boä coâng trình ñaõ ñöôïc Boä Xaây döïng duyeät 

Design document of the Project approved by the MoC 

(Phuï luïc 2- Danh muïc baûn veõ : soá hieäu , teân baûn veõ keøm theo)

(Appendix 2- List of Drawings: Number, name’s drawing).

+ Boä xaây döïng ñaõ thaåm ñònh hoà sô thieát keá kyõ thuaät toång theå döï aùn Nam Coân Sôn soá 1907 BXD/VPTÑ ngaøy 19 thaùng 12 naêm 2000, goàm 325 baûn veõ. (Xem phuï luïc 2 ñính keøm).

Front End Engineering Design of  Nam Con Son Project approved by the MoC No 1907 BXD/VPTÑ on 19th December 2000, including 325 drawings (See the Appendix 2 attached).


	Khoâng coù baûn veõ thieát keá phaàn ñaøi coïc, daàm giaèng moùng, keát caáu ngaàm & keát caáu thaân

The detail design for pile caps, footing tie beams, sub-structure,

and super-structure  not available

	13
	Thieát keá chi tieát phaàn ñaøi coïc, daàm giaèng moùng, keát caáu ngaàm vaø keát caáu thaân, ñöôïc Chuû ñaàu tö vaø ñôn vò Tö vaán Ñaêng kieåm quoác teá( DNV) duyeät. Goàm …………… baûn veõ (xem phuï luïc 2 ñính keøm).

Detail design of pile caps, footing tie beams, sub-structure, super- structure works approved by the Project Client and the International Design Auditor (DNV). Total of …………. Drawings (see the Appendix 2 attached).
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	Baùo caùo khaûo saùt ñòa chaát coâng trình , ñòa chaát thuyû vaên ( neâu roõ cô quan vaø thôøi gian thöïc hieän  )

Report on soil survey (companies involved and time of execution)

- Baùo caùo khaûo saùt ñòa chaát cuûa Traïm xöû lyù khí Dinh Coá soá S875/96-2 

Report on Geotechnical Survey of the Terminal - Dinh Co Project No S875/96-2:

Taäp 1: Baùo caùo, baûn thuyeát minh vaø caùc phuï luïc A,B,C kyù hieäu M/24/4-0087 cuûa Fugro Singapore PTE. LTD.

Volumn 1: Report and  Appendix  A,B,C, Code M/24/4-0087 from the Fugro Singapore PTE LTD

Taäp 2 : Baùo caùo, baûn thuyeát minh vaø caùc phuï luïc D,E kyù hieäu M/24/4-0088 cuûa Fugro Singapore PTE. LTD.

Volum 2: Report and Appendix D,E, Code M/24/4-0088 from the Fugro Singapore PTE. LTD

- Baùo caùo khaûo saùt ñòa chaát cuûa coâng ty tö vaán thieát keá GTVT phía Nam (Boä Giao thoâng vaän taûi)

  Report on Geotechnical Survey carried out by the Southern Transport

Engineering Design Inc. (TEDI South) – the Ministry of Transportation


	

	15.


	Bieân baûn kieåm tra hoà sô nghieäm thu caùc giai ñoaïn xaây laép (theo maãu phuï luïc 5 cuûa Qui ñònh 17/2000/QÑ-BXD), giai ñoaïn thi coâng ñaøi coïc, daàm giaèng moùng, keát caáu ngaàm vaø keát caáu thaân coâng trình:

Partial Acceptance Minutes (as per a form of the appendix No 5 – the Cicular 17/2000/QÑ-BXD of the MoC) for pile caps, footing tie beams, sub-structure and super – structure:

+ Xem phuï luïc 4 ñính keøm.

Refer to the appendix No 4 attached. 

	

	16.
	Bieân baûn nghieäm thu hoaøn thaønh giai ñoaïn xaây laép (theo maãu phuï luïc 6 cuûa Qui ñònh 17/2000/QÑ-BXD) , giai ñoaïn thi coâng ñaøi coïc, daàm giaèng moùng, keát caáu ngaàm vaø keát caáu thaân coâng trình:

Minutes for acceptance of the construction stage (as per a form of the appendix No 6 – the Cicular 17/2000/QÑ-BXD of the MoC) for pile caps, footing tie beams, sub-structure and super – structure:

+ Xem phuï luïc 4 ñính keøm.

Refer to the appendix No 4 attached. 

	

	B.    TAØI LIEÄU QUAÛN LYÙ CHAÁT LÖÔÏNG / quality management document

	1

1.1

1.2
	Baûn veõ hoaøn coâng phaàn ñaøi coïc, daàm giaèng moùng, keát caáu ngaàm vaø keát caáu thaân coâng trình : Xem danh muïc baûn veõ goàm soá hieäu , teân baûn veõ keøm theo taïi Phuï luïc 3

As-built drawings of pile caps, footing tie beams, sub-structure and super – structure: Refer to the List of As-built Drawing with number, names in the Appendix 3 attached.

+ Phaàn keát caáu ngaàm: goàm maët baèng boá trí ñaøi coïc, daàm giaèng moùng, coå coät, caáu taïo chi tieát caùc caáu kieän keát caáu. 

The sub-structure: plans and structural details of pile caps, footing tie beams, columns.
+ Phaàn keát caáu thaân: goàm maët baèng boá trí coät, daàm, saøn, caáu taïo chi tieát caùc  caáu kieän vaø lieân keát.
The super-structure: plans and structural details of columns, slabs and beams.


	

	2

2.1

2.2

2.3

2.4

2.5


	Caùc chöùng chæ kyõ thuaät xuaát xöôûng xaùc nhaän chaát löôïng vaät  lieäu  söû duïng trong coâng trình ñeå thi coâng phaàn ñaøi coïc, daàm giaèng moùng, keát caáu ngaàm vaø keát caáu thaân:  

Manufacture certificates of the materials used for pile caps, footing tie beams, sub-structure and super – structure.
- Ximaêng/Cement.

+ Giaáy chöùng nhaän chaát löôïng cuûa xi maêng Sao Mai PCB40 

 (TCVN 6260-1997) cuûa n/m ximaêng Sao Mai.

Manufacture certificate of the Morning – Star cement PCB40 (Vietnamese standard 6260-1997) of the Morning – Star cement Factory.

+ Giaáy chöùng nhaän xuaát xöôûng cuûa ximaêng Kedah – Blue Circle 

Manufacture certificate of the Kedah- Blue Circle cement - Singapore
- Chaát phuï gia beâ toâng/Sika Admixture.

+ Chöùng chæ xuaát xöôûng cuûa Sikament R4 cuûa Nhaø maùy Sika Vieät nam.

Sikament R4 manufacture certificate by the Sika Vietnam Factory

- Coát theùp/Rebars.

+ Phieáu kieåm tra chaát löôïng saûn phaåm cuûa theùp caùc loïai D10, D12, D16 , D25 (tieâu chuaån ASTM A 615/A 615M) do n/m theùp Thuû Ñöùc – Coâng ty Theùp Mieàn Nam saûn xuaát.

Product quality test records for rebars of D10, D12, D16, D25 - (with standards ASTM A 615/A 615M) fabricated by Thu Duc Steel factory- Southern Steel Co 

+ Thöû nghieäm xuaát xöôûng cuûa theùp caùc loïai D10, D12, D16, D20,D25 , D28, D32 (tieâu chuaån ASTM A 615/A 615M) do Nhaø maùy theùp Nhaø Beø saûn xuaát.

Manufacture test records for rebars of D10, D12, D16, D20, D25, D28, D32 (ASTM standard A 615/A 615M) fabricated by Nha Be steel factory.

+ Thöû nghieäm xuaát xöôûng cuûa theùp D32 (tieâu chuaån JIS G 3112) do Nhaø maùy theùp Nhaø Beø saûn xuaát.

Manufacture test records of  D32 (JIS standard G 3112) fabricated by Nha Be steel Factory.

+ Phieáu kieåm tra chaát löôïng saûn phaåm cuûa theùp loaïi D12, D14, D16, D22, D25 (tieâu chuaån JIS G 3112) do n/m theùp Thuû Ñöùc – Coâng ty Theùp Mieàn nam saûn xuaát.
Product quality record for rebars of D12, D14, D16, D22, D25  (JIS standard G 3112) fabricated by Thu Duc steel Factory – Southern Steel Co. 

+ Phieáu kieåm tra chaát löôïng saûn phaåm cuûa theùp D12, D16,D20, D32 (tieâu chuaån ASTM A 615/A 615M)  do coâng ty theùp VINA KYOIE saûn xuaát.

Product quality records for rebars of D12, D16, D20, D32 (ASTM standard A 615)  fabricated by the VINA KYOEL Steel Co.

+ Phieáu kieåm tra chaát löôïng saûn phaåm cuûa theùp vaèn D10, D12, D16, D20, D22, D25, D28, D32 (tieâu chuaån ASTM A 615/A 615M)  Do nhaø maùy theùp Thuû Ñöùc – Coâng ty theùp mieàn nam saûn suaát.

Product quality records for rebars of D10, D12, D16, D20, D22, D25, D28, D32 (ASTM standard A 615 /615M) fabricated by Thu Duc Steel Factory – Southern Steel Co.

+ Phieáu kieåm tra chaát löôïng saûn phaåm theùp D12, D16 (tieâu chuaån ASTM A 615/A 615M) do nhaø maùy theùp Thuû Ñöùc – Coâng ty theùp Mieàn nam saûn xuaát.

Product quality records for rebars of D12, D16 (ASTM standard A 615/A 615M) fabricated by the Thu Duc Steel Factory – Southern Steel Co.

- Theùp taám , theùp hình, buloâng, eâ-cu.

Plate steel, profile steel, bolts and nuts …

+ Chöùng chæ chaát löôïng cuûa theùp taám (32mm, 25mm, 20mm, 16mm) x12000mm cuûa IDC (IZMIR DEMIR CELIK SANAYI A.S – Singapore).

Product quality records for steel plates sized (32mm, 25mm, 20mm, 16mm) x12000mm of the IDC (IZMIR DEMIR CELIK SANAYI A.S – Singapore).

+ Chöùng chæ chaát löôïng cuûa theùp hình 25(2G/25(2C cuûa Nga theo (OCT 5781-82.

Manufacture certificate of steel plates 25(2G/25(2C (Russia) according to (OCT 5781-82.

+ Chöùng chæ xuaát xöôûng cuûa bu- loâng, eâ-cu M20, M24, M28  do Tri-Star saûn xuaát 

Manufacture certificates of bolts and nuts M20, M24, M28 fabricated by Tri  - Star.
+ Chöùng chæ xuaát xöôûng cuûa bu-loâng, eâ-cu M12, M16, M20, M24 do Seng Heng Engineering Pte, Ltd  saûn xuaát

Manufacture certificates of bolts and nuts M12, M16, M20, M24 fabricated by Seng Heng Engineering Pte, Ltd.
- Beâtoâng/Conrete :

Phieáu troän beâ toâng (CF-005-03-01A, maãu MCD)

Concrete Delivery Docket (CF-005-03-01A, by the MCD)


	

	3

3.1

3.2

   3.3

3.4

   3.5

3.6

  3.7

3.8

3.9

3.10


	Caùc phieáu kieåm tra xaùc nhaän chaát löôïng vaät  lieäu söû duïng trong coâng trình ñeå thi coâng phaàn ñaøi coïc, daàm giaèng moùng, keát caáu ngaàm vaø keát caáu thaân do toå chöùc chuyeân moân hoaëc moät toå chöùc khoa hoïc coù tö caùch phaùp nhaân vaø naêng löïc thöïc hieän:

Quality test records of materials used for pile caps, footing tie beams, sub-structure and super – structure carried out by an independent expert or authorised body: 

- Coát theùp/Rebars:

+ Phieáu thöû nghieäm keùo vaø uoán theùp vaèn (12, (16, (20, (22, (25, (32 – cuûa VINA KYOEI, Cuûa Trung taâm 3 theo tieâu chuaån JIS Z 2241-1993, JIS Z 2248-1975, ASTM 370-94

 Test report for Deformed Steel bars (12, (16, (20, (22, (25, (32 of the VINA KYOEI by the Quatest according to JIS Z 2241-1993, JIS Z 2248-1975, ASTM 370-94.

+ Thöû nghieäm xuaát xöôûng cuûa theùp vaèn  D10, D12, D16, D20, D25, D28, D32  theo tieâu chuaån BS 4449- 1997 do VINAUSTEEL saûn xuaát.

Test report for Deformed Steel bars D10, D12, D16, D20, D25, D28, D32 of the VINAAUSTEEL.

- Caáu kieän theùp/Steel:

+ Phieáu kieåm tra chaát löôïng haøn, noái coát theùp, cheá taïo caáu kieän theùp – 

Test records for weldings and fabrication of steel structures . 

- Ximaêng/cement

+ Phieáu thöû nghieäm ximaêng Pocland PCB40 cuûa Trung taâm 3.

Test record of Portland Blended cement PCB 40 of the QUATEST .

+ Phieáu thöû nghieäm ximaêng Sao Mai PCB40SB cuûa Trung taâm 3.

Test record of the MORNING- STAR cement PCB 40SB of QUATEST .
- Phuï gia Sika/ sika admixture
+ Keát quaû kieåm tra maãu Si ka taïi hieän tröôøng cuûa Trung taâm 3 theo tieâu chuaån ASTM C 494-90

Quatest test result of the Sika admisxture by sampling at site according the ASTM C 494-90

- Caùt/Sand.

+ Phieáu thöû nghieäm caùt mòn Ñoàng Nai - coâng trình traïm xöû lyù khí khí Nam Coân Sôn cuûa Trung taâm 3 theo tieâu chuaån ASTM D 1557-91, ASTM C 128-93, ASTM C 117-90, ASTM C 40-92, ASTM C 136-95a vaø 22 TCN249-93.

Test record of Dong Nai fine sand for the NCS gas project of the QUATEST according to the standards ASTM D 1557-91, ASTM C 128-93, ASTM C 117-90, ASTM C 40-92, ASTM C 136-95a 22 TCN 249-93.

+ Phieáu thöû nghieäm caùt thoâ Ñoàng Nai - coâng trình traïm xöû lyù khí Nam Coân Sôn cuûa Trung taâm 3 theo tieâu chaån ASTM D 1557-91, ASTM C 128-93, ASTM C 117-90, ASTM C 40-92, ASTM C 136-95a 22 TCN 249-93.

Test record of Dong Nai coarse sand for the NCS gas Project of the QUATEST according to the standards ASTM D 1557-91, ASTM C 128-93, ASTM C 117-90, ASTM C 40-92, ASTM C 136-95a 22 TCN 249-93.

- Ñaù/gravel:

+ Phieáu thöû nghieäm eùp ñaù Hoaøng Long cuûa Trung taâm 3 theo tieâu chaån ASTM C 1195-93, ASTM C 136-95a, 22 TCN 249-98

Test record for the crush rock of Hoang Long quarry of the QUATEST according to standards ASTM C 1195-93, ASTM C 136-95a, 22 TCN 249-98

+ Phieáu thöû nghieäm ñaù 10mm Hoaøng Long cuûa Trung taâm 3 theo ASTM 

 C 136-95a, 22 TCN 209-98, BS 812: 1990, ASTM C 131-89, ASTM C 117-90 ASTM C 88-00

Test record of broken stone sized 10mm  of the Hoang Long quarry of the QUATEST according the standards ASTM  C 136-95a, 22 TCN 209-98, BS 812: 1990, ASTM C 131-89, ASTM C 117-90 ASTM C 88-00

+ Phieáu thöû nghieäm ñaù 10-20 mm Hoaøng Long cuûa Trung taâm 3.
Test record of broken stone 10-20mm  of the Hoang Long quarry 

of QUATEST 

- Nöôùc/water.
+ Phieáu thöû nghieäm nöôùc söû duïng taïi coâng trình Traïm xöû lyù Nam Coân Sôn cuûa Trung taâm 3.

 Test record for used water for the Nam Con Son Gas Project of QUATEST.

+ Keát quaû thöû nghieäm maãu nöôùc söû duïng taïi nhaø maùy nöôùc Baø Ròa 

cuûa Vieän Pasteur Tp HCM.

Test record for water of Ba Ria water factory of PASTEUR INSTITUTE – HCM City.

+ Phieáu thöû nghieäm nöôùc cho coâng taùc beâ toâng  coâng trình Nam Coân Sôn 

cuûa Trung taâm 3.

Test  record  of  water  for  concrete  work  of  the  NCS  Gas  Project by  the QUATEST .

+ Phieáu keát quaû thöû nghieäm nöôùc laáy taïi n/m beâtoâng Phuù Myõ cuûa Trung taâm 3.

Test record for water used for PhuMy Concrete Factory of the QUATEST.

- Beâtoâng/Concrete.
+ Phieáu thöû nghieäm thieát keá caáp phoái maùc 40 vôùi bôm 3B cuûa Trung taâm 3. 

Test record for designated mix of concrete graded 40 with 3B-pump of  the QUATEST .

+ Phieáu thöû nghieäm beâ toâng cuûa Trung taâm 3.

Test record for concrete of the QUATEST 

+ Baûng toång keát caùc thöû nghieäm veà beâ toâng coát theùp cuûa Nhaø thaàu chính (maãu CF-005-36 cuûa MCD)

Summary result of reinforced concrete test of  the Contractor (CF-005-36, from MCD)

+ Phieáu kieåm tra cöôøng ñoä neùn beâ toâng cuûa Trung taâm 3.

Test record for compressive strength of the concrete of the QUATEST.

- Ñaát/Soil:

+ Phieáu thí nghieäm thaønh phaàn haït do trung taâm 3 thöïc hieän theo tieâu chuaån TCVN 340:1986, TCVN 339: 1986, TCVN 341:1986, ASTM C 136-95a, 22TCN 249-98.

Test report for soil particle size distribution of the QUATEST according to the standards TCVN 340:1986, TCVN 339: 1986, TCVN 341:1986, ASTM C 136-95a, 22TCN 249-98

+ Phieáu thí nghieäm ñoä ñaàm chaët cuûa Trung taâm 3.

Test report for soil compaction of the QUATEST.

- Bu loâng, eâ cu/ Anchor Bolts and Nuts: 

+ Keát quaû thöû keùo buloâng neo –Ñai oác M24x600, M24x450 do Trung taâm 3 thöïc hieän theo tieâu chuaån BS 3692:1967.

Results of tensile tests of anchor bolts, nuts M24x600, M24x450 by the Quatest according to the BS 3692:1967.

+ Keát quaû thöû nghieämkeùo theùp (22 cheá taïo bu loâng do Trung taâm 3 thöïc hieän .

Results of tensile tests of steel for the bolts by the Quatest


	

	4

4.1

4.2

4.3


	Caùc taøi lieäu, bieân baûn nghieäm thu chaát löôïng caùc coâng taùc thi coâng (theo maãu phuï luïc 5 cuûa Quy ñònh 17/2000/QÑ-BXD ): Xem danh muïc keøm theo – Phuï luïc 4 

Documents, partial minutes of quality acceptance of the civil works (as per the Appendix No5 of the Cicurlar No17/2000/QÑ-BXD): See the list of the Appendix 4 attached with this minute.

Bieân baûn nghieäm thu töøng ñaøi coïc, daàm giaèng moùng , keát caáu ngaàm vaø keát caáu thaân :

Partial acceptance minutes for each of pile caps, footing tie beams, sub-structure and super – structure: 

-  Phieáu nghieäm thu  hoøan thaønh coâng taùc – ñöôïc xaùc nhaän bôûi nhaø thaàu chính - MCD  vaø chuû ñaàu tö  - BP  (AF-013-03 maãu MCD) (Xem phuï luïc 4 ñính keøm)

Construction Completion Release Certificate (AF-013-03-MCD), approved  by the Contractor-MCD and Project Owner- BP (Refer to the Appendix No4 attached).

- Bieân baûn nghieäm thu chi tieát coâng taùc beâtoâng bao goàm caùc noäi dung :

Inspection forms for the structures including following contents:

+ Vò trí ( cao trình , vò trí treân maët baèng ) / location 

+ Coáp pha / formwork

+ coát theùp / rebar

+ moái haøn / welding work

+ beâ toâng / concrete
Bieân baûn nghieäm thu khoái xaây:

Partial acceptance minutes for brick work:

Seõ boå xung / To be added

Bieân baûn nghieäm thu chi tieát  coâng taùc laép ñaët keát caáu theùp:

Partial acceptance minutes for steel work:

Seõ boå xung / To be added


	

	5
	Baùo caùo thí nghieäm baèng sieâu aâm: kieåm tra chaát löôïng beâ toâng cuûa caùc caáu kieän keát caáu.

Report of checking by sonic test: the concrete quality of the concrete of the structural structures.
Khoâng coù trong yeâu caàu cuûa thieát keá.

Not required by the detail design.


	

	6
	Caùc taøi lieäu ño ñaïc, quan traéc caùc haïng muïc coâng trình trong quaù trình xaây döïng ( ñoä luùn, ñoä nghieâng, chuyeån vò ngang, goùc xoay …).

Document for survey work during the construction phase (the vertical settlement, declination, longitudinal settlement and rotation angles) 

+ Ñöôïc theå hieän trong baûn veõ hoaøn coâng.

Refer to as- built drawings.


	

	7
	Caùc baùo caùo thöû nghieäm keát caáu: beå chöùa baèng beâ toâng coát theùp vaø beå chöùa baèng theùp.

Test Reports for structures: Reinforced Concrete and Steel Tanks.

+ Caùc baùo caùo thöû kín nöôùc töøng caáu kieän  

Water tight test reports for each structure


	

	8
	Baùo caùo keát quaû kieåm tra chaát löôïng ñöôøng haøn cuûa moái noái keát caáu kim loaïi, beå chöùa baèng kim loaïi.

Test reports for quality inspection of connetion welds of steel structures and steel tanks.

+ Baùo caùo thí nghieäm kieåm tra chaát löôïng keát caáu theùp baèng phöông phaùp khoâng phaù hoïai caùc caáu kieän.

NDT test reports for steel structures.

+ Baùo caùo thí nghieäm kieåm tra baèng boät töø chaát löôïng keát caáu theùp.

Magnetic particle test reports for steel structures 

	

	9

9.1

9.2

9.3


	Nhaät kyù theo doõi quaù trình thi coâng ñaøi coïc, daàm giaèng moùng, keát caáu ngaàm vaø keát caáu thaân coâng trình.

Site dairy of the construction of pile caps, footing tie beams, sub-structure and super – structure. 

- Chuû ñaàu tö ( hoaëc cuûa toå chöùc tö vaán giaùm saùt kyõ thuaät thi coâng )

The Project Owner (or the Supervisory Engineer appointed by the Project Owner) 

+ Nhaät kyù coâng tröôøng haøng ngaøy

Site daily diaries 

- Toå chöùc tö vaán thieát keá /The Designer 

+ Baùo caùo tuaàn vaø ngaøy veà caùc coâng vieäc thi coâng (maãu MCD)

Weekly Reports for the construction ( from the MCD) 
+ Baùo caùo theo doõi quaù trình ñoå beâ toâng cho caùc haïng muïc.

 Batch Reports for the Items
- Toå chöùc Nhaø thaàu xaây döïng 

The main contractor

+ Baùo caùo tuaàn vaø ngaøy veà caùc coâng vieäc thi coâng (maãu MCD)

Weekly Reports for the construction ( from the MCD) 
+ Baùo caùo theo doõi quaù trình ñoå beâ toâng cho caùc haïng muïc.

 Batch Reports for the Items
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	Baùo caùo cuûa Nhaø thaàu xaây laép chính McConnell Dowell soá        ngaøy       thaùng        naêm           veà :

Report by the main contractor -  McConnell Dowell  No …… Date ………on:

- Khoái löôïng vaø chaát löôïng phaàn ñaøi coïc, daàm giaèng moùng, keát caáu ngaàm vaø keát caáu thaân coâng trình cuûa caùc haïng muïc coâng trình 

vaø toaøn boä coâng trình  ,

Quantity and quality report  of the pile cap, footing beam and superstructure execution phase of Project Items and the whole Project.

- Quaù trình thöïc hieän : tieán ñoä , toå chöùc thi coâng cuûa phaàn ñaøi coïc, daàm giaèng moùng, keát caáu ngaàm vaø keát caáu thaân caùc haïng muïc coâng trình vaø toaøn boä coâng trình.

Implementation period: time schedule, the pile caps, footing beams and superstructure execution phase of Project Items and the whole Project. 
- Coâng taùc quaûn lyù  chaát löôïng phaàn ñaøi coïc, daàm giaèng moùng, keát caáu ngaàm vaø keát caáu thaân caùc haïng muïc coâng trình vaø toaøn boä coâng trình.


Quality management during the pile cap, footing beam and superstructure execution phase of Project Items and the whole Project.
- Keát luaän vaø ñeà nghò nghieäm thu phaàn ñaøi coïc, daàm giaèng moùng, keát caáu ngaàm vaø keát caáu thaân caùc haïng muïc coâng trình vaø toaøn boä coâng trình.

Conclusion and reccommedation for the final acceptance of the the pile cap, footing beam and superstructure execution phase of Project Items and the whole Project. 

	

	11
	Baùo caùo cuûa toå chöùc tö vaán thieát keá – Mc Connell Dowell  soá ………   ngaøy ………. Thaùng ……..  naêm ………….

Report of the Designer - Mc Connell Dowell No ………. Date ………on:.

- Vieäc thöïc hieän giaùm saùt taùc giaû phaàn ñaøi coïc, daàm giaèng moùng, keát caáu ngaàm vaø keát caáu thaân caùc haïng muïc coâng trình vaø toaøn boä coâng trình.


Supervision work of the Designer of  the pile cap, footing beam and superstructure execution phase of Project Items and the whole Project. 
- Nhöõng thay  ñoåi veà thieát keá so vôùi thieát keá ñaõ ñöôïc chaáp thuaän trong 

giaáy pheùp xaây döïng vaø thieát keá ñaõ ñöôïc pheâ duyeät ( lyù do thay ñoåi , yù kieán cuûa cô quan caáp giaáy pheùp vaø caáp coù thaåm quyeàn pheâ duyeät thieát keá  veà nhöõng söûa ñoåi ñoù )
Design adjustments, changes and variation compared to the approved

Design (reasons for adjustments, the confirmations of the authorised bodies approved Design for the adjustments)

- Nhaän xeùt veà chaát löôïng coâng taùc thi coâng phaàn phaàn ñaøi coïc, daàm giaèng moùng, keát caáu ngaàm vaø keát caáu thaân caùc haïng muïc coâng trình vaø toaøn boä coâng trình.


Comments on construction quality of the pile cap, footing beam and superstructure execution phase of Project Items and the whole Project 
carried out by the main Contractor.

- Keát luaän vaø ñeà nghò  nghieäm thu phaàn  phaàn ñaøi coïc, daàm giaèng moùng, keát caáu ngaàm vaø keát caáu thaân caùc haïng muïc coâng trình vaø toaøn boä coâng trình.


Conclusion and reccommendation for the final acceptance of the pile cap, footing beam and superstructure execution phase of Project Items and the whole Project  
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	Baùo caùo giaùm saùt QA/QC cuûa Chuû ñaàu tö (BP) soá ………. ngaøy ………. thaùng …….. naêm ……….veà:

Site supervision Report by the Supevisory Consultants – Supervisor of the Investor No ……. Date ………on :
- Coâng taùc quaûn lyù chaát löôïng caùc coâng taùc thi coâng phaàn phaàn ñaøi coïc, daàm giaèng moùng, keát caáu ngaàm vaø keát caáu thaân caùc haïng muïc coâng trình vaø toaøn boä coâng trình.


Quality management of the pile cap, footing beam and superstructure execution phase of Project Items and the whole Project. 
- Caùc tieâu chuaån söû duïng ñeå nghieäm thu coâng taùc thi coâng phaàn phaàn ñaøi coïc, daàm giaèng moùng, keát caáu ngaàm vaø keát caáu thaân caùc haïng muïc coâng trình vaø toaøn boä coâng trình.


Standards applied for acceptance of the pile cap, footing beam and superstructure execution phase of Project Items and the whole Project. 
- Nhaän xeùt veà chaát löôïng coâng taùc thi coâng phaàn phaàn ñaøi coïc, daàm giaèng moùng, keát caáu ngaàm vaø keát caáu thaân caùc haïng muïc coâng trình vaø toaøn boä coâng trình.


Comments on construction quality control of the pile cap, footing beam and superstructure execution phase of Project Items and the whole Project. 
- Keát luaän vaø ñeà nghò  nghieäm thu phaàn phaàn ñaøi coïc, daàm giaèng moùng, keát caáu ngaàm vaø keát caáu thaân caùc haïng muïc coâng trình vaø toaøn boä coâng trình.


Conclusion and reccommedation for the final acceptance of the pile cap, footing beam and superstructure execution phase of Project Items and the whole Project.
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Report of Project Owner on the construction procedure of the pile cap, footing beam and superstructure execution phase of Project Items and the whole Project. (as guided by the Appendix 11 – the Circular No17/2000/QÑ-BXD).

+ Baùo caùo cuûa Chuû ñaàu tö veà chaát löôïng coâng taùc thi coâng phaàn ñaøi coïc, daàm giaèng moùng, keát caáu ngaàm, keát caáu thaân (maãu phuï luïc 11).

Quality Construction Report by the Project owner from the commencement  construction project up to now (as guided by the Appendix 11 – the Circular No17/2000/QÑ-BXD). 
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